## Sheet1
Technical Specifications for Video Management System/SOFTWARE with Recording
SR. No | Specifications/Features Required | Compliance Yes/No | Remarks
1 | The Video Management System (VMS) specified shall be an enterprise class client/server based IP video security solution that provides seamless management of digital video, audio and data across an IP network | Yes
2 | The Video Management System shall be a fully distributed solution with/without, Centralized management, designed for limitless multi-site and multiple server installations requiring 24/7 surveillance. | Yes
3 | VMS shall already support IP cameras from at least fifty (50) major vendors. Contractors shall clearly list the brands and models already integrated into VMS | Yes
4 | To ensure openness, VMS and cameras shall not be from the same manufacturer | Yes
5 | The VMS shall include support for seamless integration with Access control system and perimeter Intrusion system. |  | Need Clarification
6 | VMS shall have the possibility to integrate external Video Analytics systems. | Yes
7 | The VMS system shall enable recording to be done at the aggregation sites and shall allow the Command & Control center to import selected video’s on demand. | Yes
9 | The VSS shall record and store a minimum of Thirty (30) days at full resolution of video images from all cameras as well as the historical data of system activities. | Yes
10 | The VSS must be user friendly and shall require only minimum training to allow an operator to perform his daily routine with minimum supervision. | Yes
11 | Software shall also provide the ability to monitor system status events. Systems alarms,switching functions, sequence events, keyboard actions, and video loss information. |  | Need Development
12 | The Video Management System software shall include multicast and multi- streaming support. |  | Need Development
13 | The contractor shall ensure that he does not exceed Bandwidth allocation specified by the PSD.
14 | The VMS data communications and telecommunications network shall use a suitable transport medium and associated cabling and data transmission infrastructure that will support real-time video display of cameras at the nominated operations centers. | Yes | Currently using RTSP
15 | The Video Management System shall have centralized management of all devices, Recording servers and users and must empower a flexible rule-based system driven by schedules and events. | Yes
16 | The VMS system shall be a scalable client - server architecture built using well known operating systems | Yes
17 | The VMS and Recording server shall be provided separately, each on a dedicated hardware server platform. The proposed hardware specification for the server must be sufficient to ensure stable operation. | Yes
18 | The system server shall complete with adequate disk storage to service the total system requirements and shall be of an industrial standard type, having proven record in similar applications. | Yes
19 | The VMS management server shall be able to intelligently scan an IP network for new devices (cameras or servers) along with automatic model detection. |  | Need Development
20 | The VMS shall incorporate fully integrated Matrix functionality for distributed viewing of any camera in the system from any computer with the Video Client Viewer or Matrix Monitor application installed. | Yes
21 | The VMS shall include support for a graphical Central Alarm Management application alarm management module shall allow for the continuous monitoring of status and event-triggered alarms from system servers, cameras and oilier external devices. |  | Need Development
22 | The VMS shall include a stand-alone Viewer application to be included with video exported from the Video client viewer application. The Viewer application shall allow ecipients of the video to browse and play back the exported video without installing separate software on their computers. | Yes
23 | The VMS shall include support for Active Directory to allow users to be added to the system. Use of Active Directory shall require that a server running Active Directory, acting as a domain controller, be available on the network. |  | Need Clarification
24 | VMS shall be installed on Standard Servers and storage technologies, shall be a scalable client - server architecture built using well known operating systems. | Yes
25 | The VMS management server shall be able to intelligently scan an IP network for new devices (cameras or servers) along with automatic model detection. |  | Need Development
26 | The Video Management System shall support a Versatile rule engine that makes it easy to automate different aspects of the system, including the control of cameras, system behavior and external devides, such as lights and doors, based on events or time schedules, eliminating the need for manual control with numerous options including support to time profiles. |  | Need Development
27 | The camera feature can be an integral part of camera or a part of camera server. The features shall be user configurable for each camera. It shall be possible to activate recordings automatically based on events generated by video analytics. These events shall also be logged and suitably alarmed on the monitors. | Yes
28 | The system administrator shall have rights to add/delete/configure users with rights. Itshall be possible to view the rights of each user or the cameras which can be viewed controlled by each user. It shall also be possible to add/delete cameras, configure cameras, assign priorities to users, configure alarm monitors etc. It shall also be possible to configure user groups with different rights and assign users to user groups. The system shall support unified log-in throughout the system and it shall be possible for any user to log-in from any location/client and access cameras/recordings and other features as permissible depending on his rights assigned to his log-in. | Partiall | Need Development
29 | VMS shall be installed on Standard Servers and storage technologies | Yes
30 | VMS shall support installation and ability to run on virtualized windows servers | Yes
31 | The VMS system shall be compatible to single and multiple processor servers. The server processor & hardware shall be optimized in all cases. | Yes
32 | The Video Management System shall support Latest operating system. | Yes
33 | Recording Server and for an unlimited number of Recording Servers to be connected to a single master Recording Server across multiple sites. The system shall support any ombination of master and slave servers to provide flexibility and scalability in the overall system configuration. |  | Need Development
34 | The Surveillance System Server shall support the use of separate networks, VLANs or switches for connecting the cameras to the Recording Servers to provide physical network separation from the clients and facilitate the use of static IP addresses for the devices. |  | Need Development
35 | The Surveillance System Server shall support H.264, MPEG-4 (both ASP and SP), and MJPEG compression formats for the video stream from all devices including analog cameras connected to encoders, DVRs, and IP cameras connected to the system. |  | Need Development
36 | Multi-stream Support - The Surveillance System Server shall support H.264 / MPEG- 4 / MJPEG bandwidth optimized multi-streaming. |  | Need Development
37 | The VMS shall support interoperability with IP camera standards including, at a minimum, the Open Network Video Interface Forum (ONVIF). |  | Need Development
38 | The VMS recording servers shall support interface to cameras with universal serial bus (USB) communications. |  | Need Development
39 | The system shall support specific devices, where the specific supported model numbers shall be listed for each manufacturer on an up-to-date on-line web-site. |  | Need Development
40 | The Surveillance System Server shall support full two-way audio between the Video client viewers and remote cameras/devices. |  | Need Development
41 | Multi-stream should support two independent, streams from a camera to the recording server with different resolutions, encodings and frame, dependent on camera capabilities. |  | Need Development
42 | Multi-live streaming shall define multiple streams for live viewing with different properties. |  | Need Development
43 | System shall ensure that once recorded, video cannot be altered. |  | Need Development
44 | The system shall have different recording modes i.e. continuous, manual programmed, event activated etc. on date, time camera wise. It shall be possible to configure each mode using user friendly tools. It shall be possible to search and replay the recorded video date, time, camera, event wise. |  | Need Development
45 | Each recording server shall be mapped to a specific port and this port must be forwarded through the firewall to the recording server’s internal IP address. |  | Need Development
46 | The system shall support port forwarding, which must allow clients from outside of a Network Address Translation (MAT) firewall to connect to recording servers without using a VPN. |  | Need Development
47 | The system shall allow the management server to be installed on multiple servers within a cluster of servers ensuring that another server in the cluster automatically takes over in case the first server fails |  | Need Development
48 | The Video Management System shall support high availability of recording servers. A failover option shall provide standby support for recording servers with automatic synchronization to ensure maximum uptime and minimum risk of lost data. Minimum required is N: 1 OR N: N Redundancy. |  | Need Clarification
49 | In case of Network Failover, the video should be able to locally store on the Camera, once .the network is established the stored video should be able to synchronize with the central storage system. |  | Need Development
50 | The VMS shall provide a documented Software Development Kit (SDK) to allow integration with other application software. | Yes
51 | The SDK shall provide a comprehensive library of reusable software components that can be used by other software applications to integrate a wide range of IP video devices under a single object API. | Yes
52 | The SDK shall consists of high level “objects” that can be manipulated by a client software application through a set of well-defined COM interfaces, abstracting various underlying control and streaming protocols with a common API. |  | Need Development
53 | The SDK shall be access password protected and shall be accessible from all Net programming languages. |  | Need Development
54 | The. Video Management System shall support full two-way audio between clients and remote devices Two-way audio integration shall support the following features and functions. |  | Need Development
55 | The Audio shall be broadcasted through loud speakers from control room to the cameras connected to external speakers. Operator shall be able to select particular camera speaker to enable the public addressing. |  | Need Development
56 | The system shall maintain a single alarm stack for the complete system, which shall include events received from other system, or events detected by video analytics, network loss, video loss etc. |  | Need Development
57 | It shall be possible to assign priorities to alarms. System shall maintain audit trail for alarms and actions taken by users in response to alarm shall be recorded and made available for audit. |  | Need Development
58 | The VMS shall support a central alarm management and monitoring function, providing an alarm / event queue where all incoming events are on display. |  | Need Development
59 | The alarm queue shall provide, but not limited to, the following information: Alarm date and time Alarm status Current alarm condition Detector/input name/address Alarm location Message priority |  | Need Development
60 | Operator who is working on the alarm/event when it was acknowledged. |  | Need Development
61 | All incoming alarms at the SMS GUI workstation shall consist of the following Comprehensive alarm message.
62 | Blinking icon representing new alarm. |  | Need Development
63 | Status of the alarm messages Graphical map showing alarm location with flashing icon associated with the alarm. Audible alarm / buzzer. |  | Need Development
64 | The alarm and event messages received shall be classified into the following status: NEW - All the incoming messages that have not been accepted by any operator are marked NEW. These messages are displayed to all operators authorized to accept these messages. Acknowledge - All messages which have been accepted by any operator are marked Acknowledge. The name of the operator who accepted the message shall be displayed. Only this operator can delete the message or put it into the progress. PROGRESS - Messages that have been placed in the workflow are marked PROGRESS. These messages are displayed to all operators authorized to accept these messages. |  | Need Development
65 | The alarm support shall allow for continuous monitoring of the operational status and event-triggered alarms from servers, cameras and other devices. |  | Need Development
66 | The alarm support shall provide a real-time overview of alarm status, or technical problems, while allowing for immediate visual verification and troublesnooting. |  | Need Development
67 | The Video Management System shall incorporate intuitive map functions allowing for multilayered map environment. The map functionality shall allow for the interactive control of the complete surveillance system, at-a-glance overview of option. |  | Need Development
68 | The activation of the VMD or Camera disconnected alarm shall display the alarm location with animated camera’s icon shown in the location map, and the predefined alarm documents. |  | Need Development
69 | The supervisor is able to manually control by easily Dragging & Dropping the camera from the MAP to the desired Client station monitor views. The same camera view shall be updated in the tile automatically at Client's monitor. |  | Need Development
70 | Server software shall allow the clients seamless operation of all cameras regardless of the actual connection to different recording servers. Software shall allow the client applications to interact with all the camera/database servers simultaneously and allow simultaneous display of live video/recorded video regardless of the zone in which the lient is connected. | Yes
71 | It shall be possible to define priority based camera control rights for each camera or a group of cameras. The users shall be defined on a hierarchical basis with a minimum of three levels. A higher priority user can take control of camera being controlled by a ower priority' user. In addition the user shall have facility to request access of any camera and the existing situation permits the user shall be to control the camera. | Yes
72 | On screen controls shall be provided to achieve remote operation i.e. PTZ operation of cameras. |  | Need Development
73 | It shali be possible to view live video from cameras on the surveillance system from 1 to 64 per view. | Yes
74 | To access views of cameras on any PC with a client viewer application installed. | Yes
75 | Use multiple screens as well as floating windows for displaying different viev/s simultaneously. | Yes
76 | View images from several cameras in sequence in a single camera position in a view-a so called carousel. |  | Need Development
77 | View video from selected cameras in greater magnification and/or higher quality in a designated hotspot. |  | Need Development
78 | Receive and send video through the matrix functionality, control PTZ cameras. |  | Need Development
79 | Use digital zoom on live as well as recorded video. |  | Need Development
80 | To activate manually triggered events. |  | Need Development
81 | Get quick overview of sequences with detected motion. |  | Need Development
82 | The operator shall have the ability to use digital zoom where the zooming is performed in the image only on any number of cameras simultaneously. This functionality shall be the default for fixed cameras. The use of digital zoom shall have no effect on recording, or other users. |  | Need Development
83 | It is a requirement that all user actions on the system Operator Station be recorded in a log file along with the Security System or Control System’s actions. User actions include: |  | Need Development
84 | Interventions such as manual recording and configuration setting changes. | Yes
85 | Cameras viewed, Video replayed, Video exported, Cameras pan/tilt/zoomed and preset switching. |  | Need Development
86 | It shall be possible for operators to manually set video wall to presets and set. a video wall monitor to show specific cameras. | Yes
87 | The supervisor client shall be provided with dynamic control of the layout of the video wall, and content shall easily be added by dragging and dropping cameras into view positions on the video wall. |  | Need Development
88 | This log must also contain a history of the status of the system components. It shall list the status of all cameras, servers and other system components including when they were disabled or foiled. This log shall bo maintained for a minimum period often (10) days. |  | Need Development
89 | It shall be possible to playback simultaneously 64 cameras on the surveillance system, with a selection of advanced navigation tools, including an intuitive timeline browser. |  | Need Development
90 | The Client shall support search of recorded video for motion event in user- specified areas of a camera image | Yes
91 | The VMS shall allow the operator to capture / Export video from the workstation. The recording shall be captured in a standard format, such as AVI, so as to allow playback using Windows Media Player. The recording shall include audio for video sources if audio recording is used. |  | Need Development
92 | The Video Management System software shall provide fast evidence export by exporting in video to various, formats, including video frommultiple cameras in encrypted native database format with an included viewer. |  | Need Development